## How To Guide
Facilities Plan:
- This is the output from the Facilities Plan developed in the Insights -> Facilities Plan section of SEED, highlighting the buildings that make up 75% of the energy consumed.
Prioritized Building Components:
- The "Uniformat Category" column summarizes the components that are EISA 432 compliant with the RSL< X for the buildings that make up 75% of the energy consumed.
- If the Analysis was run for the building stock, the "Building Upgrade Recommendation" column can help prioritize which buildings are recommended for a Deep Energy Retrofit, Equipment Replacement or Re-tuning project. It also summarizes those that have no No DER project recommended.
ECM Data Dictionary
- The EISA 432 compliant suggested ECMs can be found in the ECM Data Dictionary tab for the components in the "Prioritized Building Components" tab.

## 3. ECM Data Dictionary
Uniformat Category | ECM Suggestion
Direct Expansion Systems | Replace AC and heating units with ground coupled heat pump systems
Domestic Water Equipment | Replace or upgrade water heater Insulate SHW tank Replace tankless coil Separate SHW from heating Upgrade SHW boiler Install heat pump SHW system Install tankless water heaters
Lighting Equipment | Retrofit with CFLs Retrofit with T-5 Retrofit with T-8 Install spectrally enhanced lighting Retrofit with fiber optic lighting technologies Retrofit with light emitting diode technologies
Chilled Water Systems