## Sheet1
Agency Designated Covered Facility ID | Sub-agency Acronym | Facility Name | Evaluation Name | Evaluation Completion Date | Retro/Re-Commissioning Assessment | Gross Evaluated Square Footage | Estimated Implementation Cost of Measure(s) | Estimated Annual Energy Savings | Estimated Annual Energy Cost Savings | Estimated Annual Water Savings | Estimated Annual Water Cost Savings | Estimated Annual Renewable Electricity Output | Estimated Annual Renewable Thermal Output | Estimated Other Annual Ancillary Cost Savings | Estimated Life-Cycle Energy Savings | Estimated Present Value Life-Cycle Energy Cost Savings | Estimated Life-Cycle Water Savings | Estimated Present Value Life-Cycle Water Cost Savings | Estimated Other Present Value Life-Cycle Ancillary Cost Savings | A_Uncategorized | B_Uncategorized | C_Uncategorized | D_Uncategorized | E_Uncategorized | F_Uncategorized | G_Uncategorized | H_Uncategorized | I_Uncategorized | J_Uncategorized | K_Uncategorized | L_Uncategorized | M_Uncategorized | N_Uncategorized | O_Uncategorized | P_Uncategorized | Q_Uncategorized | R_Uncategorized | U_Uncategorized | V_Uncategorized | W_Uncategorized | S_Uncategorized | T_Uncategorized | Comments / Explanations | Comment For Public Disclosure | A_Add energy recovery | A_Decentralize boiler | A_Insulate boiler room | A_Convert gas-fired unit to boiler loop | A_Clean and/or repair | A_Upgrade operating protocols, calibration, and/or sequencing | A_Replace Boiler | A_Replace Burner | A_Convert system from steam to hot water | A_Implement training and/or documentation | A_Convert to cleaner fuels | B_Add energy recovery | B_Install VSD on Electric Centrifugal Chillers | B_Replace Chiller | B_Install gas cooling | B_Add or repair economizer cycle | B_Add or replace cooling tower | B_Clean and/or repair | B_Implement training and/or documentation | B_Upgrade operating protocols, calibration, and/or sequencing | C_Add or Upgrade BAS/EMS/EMCS | C_Add or Upgrade Controls | C_Upgrade operating protocols, calibration, and/or sequencing | C_Convert pneumatic controls to DDC | D_Add Duct Insulation | D_Add or replace Cooling Tower | D_Convert CV System to VAV System | D_Add energy recovery | D_Other cooling | D_Balance ventilation/distribution system | D_Improve distribution fans | D_Add or repair economizer | D_Other distribution | D_Clean and/or repair | D_Implement training and/or documentation | D_Repair or replace HVAC damper and controller | D_Repair leaks in ducts | D_Seal ducts | D_Replace Package Units | D_Replace Packaged Terminal Units | D_Replace or modify AHU | D_Other ventilation | D_Improve ventilation fans | D_Upgrade operating protocols, calibration, and/or sequencing | D_Replace burner | D_Install passive solar heating | D_Replace AC and heating units with ground coupled heat pump systems | D_Install gas cooling | D_Add enhanced dehumidification | D_Install solar ventilation preheating system | D_Other heating | D_Install air source heat pump | D_Install variable refrigerant flow system | D_Capture and return condensate | D_Install demand control ventilation | D_Install thermal destratification fans | E_Add daylight controls | E_Add occupancy sensors | E_Retrofit with fiber optic lighting technologies | E_Retrofit with light emitting diode technologies | E_Clean and/or repair | E_Upgrade operating protocols, calibration, and/or sequencing | E_Retrofit with CFLs | E_Retrofit with T-5 | E_Retrofit with T-8 | E_Install spectrally enhanced lighting | E_Implement training and/or documentation | E_Install timers | E_Replace diffusers | E_Upgrade exterior lighting | E_Upgrade exit signs to LED | E_Install photocell control | F_Add attic/knee wall insulation | F_Add shading devices | F_Add window films | F_Air seal envelope | F_Install cool/green roof | F_Clean and/or repair | F_Increase ceiling insulation | F_Increase floor insulation | F_Increase roof insulation | F_Increase wall insulation | F_Insulate attic hatch | F_Insulate attic stair box | F_Insulate foundation | F_Insulate thermal bypasses | F_Install or replace solar screens | F_Replace glazing | F_Replace windows | F_Close elevator and/or stairwell shaft vents | G_Add recirculating pumps | G_Add pipe insulation | G_Add energy recovery | G_Replace or upgrade water heater | G_Repair or replace existing condensate return systems or install new condensate return systems | G_Install solar hot water system | G_Repair and/or replace steam traps | G_Retrofit and replace chiller plant pumping, piping, and controls | G_Replace with higher efficiency pump | G_Replace with variable speed pump | G_Clean and/or repair | G_Implement training and/or documentation | G_Upgrade operating protocols, calibration, and/or sequencing | G_Install or upgrade master venting | G_Replace steam traps with orifice plates | G_Install steam condensate heat recovery | H_Replace with higher efficiency | H_Add VSD motor controller | H_Add drive controls | H_Clean and/or repair | H_Implement training and/or documentation | H_Upgrade operating protocols, calibration, and/or sequencing | I_Replace ice/refrigeration equipment with high efficiency units | I_Replace air-cooled ice/refrigeration equipment | I_Replace refrigerators | I_Clean and/or repair | I_Implement training and/or documentation | I_Upgrade operating protocols, calibration, and/or sequencing | J_Install CHP/cogeneration systems | J_Install fuel cells | J_Install microturbines | J_Convert fuels | J_Clean and/or repair | J_Implement training and/or documentation | J_Upgrade operating protocols, calibration, and/or sequencing | K_Install landfill gas, wastewater treatment plant digester gas, or coal bed methane power plant | K_Install photovoltaic system | K_Install wind energy system | K_Install wood waste or other organic waste stream heating or power plant | K_Clean and/or repair | K_Implement training and/or documentation | K_Upgrade operating protocols, calibration, and/or sequencing | K_Install electrical storage | L_Install gas distribution systems | L_Implement power factor corrections | L_Implement power quality upgrades | L_Upgrade transformers | L_Clean and/or repair | L_Implement training and/or documentation | L_Upgrade operating protocols, calibration, and/or sequencing | M_Install low-flow faucets and showerheads | M_Install low-flow plumbing equipment | M_Install onsite sewer treatment systems | M_Implement water efficient irrigation | M_Clean and/or repair | M_Implement training and/or documentation | M_Upgrade operating protocols, calibration, and/or sequencing | N_Install thermal energy storage | N_Implement training and/or documentation | N_Upgrade operating protocols, calibration, and/or sequencing | O_Change to more favorable rate schedule | O_Energy service billing and meter auditing recommendations | O_Change to lower energy cost supplier(s) | P_Implement industrial process improvements | P_Implement production and/or manufacturing improvements | P_Clean and/or repair | P_Implement training and/or documentation | P_Upgrade operating protocols, calibration, and/or sequencing | Q_Install advanced metering systems | Q_Clean and/or repair | Q_Implement training and/or documentation | Q_Upgrade operating protocols, calibration, and/or sequencing | R_De-lamp vending machines | R_Install plug load controls | R_Clean and/or repair | R_Replace with ENERGY STAR rated | R_Implement training and/or documentation | R_Upgrade operating protocols, calibration, and/or sequencing | R_Replace clothes dryers | R_Replace washing machines | R_Automatic shutdown or sleep mode for computers | U_Decrease SHW temperature | U_Install SHW controls | U_Install solar thermal SHW | U_Install water pressure booster | U_Insulate SHW piping | U_Insulate SHW tank | U_Replace piping | U_Replace tankless coil | U_Separate SHW from heating | U_Upgrade SHW boiler | U_Install heat pump SHW system | U_Install tankless water heaters | U_Clean and/or repair | U_Implement training and/or documentation | U_Upgrade operating protocols, calibration, and/or sequencing | V_Add elevator regenerative drives | V_Upgrade controls | V_Upgrade motors | V_Clean and/or repair | V_Implement training and/or documentation | V_Upgrade operating protocols, calibration, and/or sequencing | W_Improve data center efficiency | W_Implement hot aisle hold aisle design | W_Implement server virtualization | W_Upgrade servers | W_Clean and/or repair | W_Implement training and/or documentation | W_Upgrade operating protocols, calibration, and/or sequencing
Covered Facility Identification Information (for reference) Required fields indicated with Red |  |  | Aggregated Findings of Comprehensive Evaluations Estimated Annual Data | [11 empty] | Aggregated Findings of Comprehensive Evaluations Estimated Life-Cycle Data |  |  |  |  | Potential Conservation Measures (per Technology Category) Add the number of ECMs below by category as "unspecified" or break out into Detail Level ECMs in the columns to the right. * At least one ECM must be indicated if there are energy or water savings. | [22 empty] | Comments/Explanations |  | Energy and Water Conservation Measures
Agency Designated Covered Facility ID | Sub-agency Acronym | Facility Name | Evaluation Name | Evaluation Completion Date | Retro/Re-Commissioning Assessment | Audited Square Footage | Estimated Implementation Cost of Measure(s) | Estimated Annual Energy Savings | Estimated Annual Energy Cost Savings | Estimated Annual Water Savings | Estimated Annual Water Cost Savings | Estimated Annual Renewable Electricity Output | Estimated Annual Renewable Thermal Output | Estimated Other Annual Ancillary Cost Savings | Estimated Life-Cycle Energy Savings | Estimated Present Value Life-Cycle Energy Cost Savings | Estimated Life-Cycle Water Savings | Estimated Present Value Life-Cycle Water Cost Savings | Estimated Other Present Value Life-Cycle Ancillary Cost Savings | Boiler Plant Improvements | Chiller Plant Improvements | Building Automation Systems / EMCS | Heating, Ventilating, and Air Conditioning | Lighting Improvements | Building Envelope Modifications | CW / HW / Steam Distribution Systems | Electric Motors and Drives | Refrigeration | Distributed Generation | Renewable Energy Systems | Energy / Utility Distribution Systems | Water and Sewer Conservation Systems | Electrical Peak Shaving / Load Shifting | Rate Adjustments | Energy Related Process Improvements | Advanced Metering Systems | Appliance / Plug-load Reductions | Service Hot Water (SHW) Systems | Conveyance Systems | Data Center Energy Conservation Improv | Commissioning Measures | Other | Internal Comment | Comment For Public Disclosure | Add energy recovery | Decentralize boiler | Insulate boiler room | Convert gas-fired unit to boiler loop | Clean and/or repair | Upgrade operating protocols, calibration, and/or sequencing | Replace boiler | Replace burner | Convert system from steam to hot water | Implement training and/or documentation | Convert to cleaner fuels | Add energy recovery | Install VSD on electric centrifugal chillers | Replace chiller | Install gas cooling | Add or repair economizer cycle | Add or replace cooling tower | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Add or upgrade BAS/EMS/EMCS | Add or upgrade controls | Upgrade operating protocols, calibration, and/or sequencing | Convert pneumatic controls to DDC | Add duct insulation | Add or replace cooling tower | Convert CV system to VAV system | Add energy recovery | Other cooling | Balance ventilation/distribution system | Improve distribution fans | Add or repair economizer | Other distribution | Clean and/or repair | Implement training and/or documentation | Repair or replace HVAC damper and controller | Repair leaks in ducts | Seal ducts | Replace package units | Replace packaged terminal units | Replace or modify AHU | Other ventilation | Improve ventilation fans | Upgrade operating protocols, calibration, and/or sequencing | Replace burner | Install passive solar heating | Replace AC and heating units with ground coupled heat pump systems | Install gas cooling | Add enhanced dehumidification | Install solar ventilation preheating system | Other heating | Install air source heat pump | Install variable refrigerant flow system | Capture and return condensate | Install demand control ventilation | Install thermal destratification fans | Add daylight controls | Add occupancy sensors | Retrofit with fiber optic lighting technologies | Retrofit with light emitting diode technologies | Clean and/or repair | Upgrade operating protocols, calibration, and/or sequencing | Retrofit with CFLs | Retrofit with T-5 | Retrofit with T-8 | Install spectrally enhanced lighting | Implement training and/or documentation | Install timers | Replace diffusers | Upgrade exterior lighting | Upgrade exit signs to LED | Install photocell control | Add attic/knee wall insulation | Add shading devices | Add window films | Air seal envelope | Install cool/green roof | Clean and/or repair | Increase ceiling insulation | Increase floor insulation | Increase roof insulation | Increase wall insulation | Insulate attic hatch | Insulate attic stair box | Insulate foundation | Insulate thermal bypasses | Install or replace solar screens | Replace glazing | Replace windows | Close elevator and/or stairwell shaft vents | Add recirculating pumps | Add pipe insulation | Add energy recovery | Replace or upgrade water heater | Repair or replace existing condensate return systems or install new condensate return systems | Install solar hot water system | Repair and/or replace steam traps | Retrofit and replace chiller plant pumping, piping, and controls | Replace with higher efficiency pump | Replace with variable speed pump | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Install or upgrade master venting | Replace steam traps with orifice plates | Install steam condensate heat recovery | Replace with higher efficiency | Add VSD motor controller | Add drive controls | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Replace ice/refrigeration equipment with high efficiency units | Replace air-cooled ice/refrigeration equipment | Replace refrigerators | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Install CHP/cogeneration systems | Install fuel cells | Install microturbines | Convert fuels | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Install landfill gas, wastewater treatment plant digester gas, or coal bed methane power plant | Install photovoltaic system | Install wind energy system | Install wood waste or other organic waste stream heating or power plant | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Install electrical storage | Install gas distribution systems | Implement power factor corrections | Implement power quality upgrades | Upgrade transformers | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Install low-flow faucets and showerheads | Install low-flow plumbing equipment | Install onsite sewer treatment systems | Implement water efficient irrigation | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Install thermal energy storage | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Change to more favorable rate schedule | Energy service billing and meter auditing recommendations | Change to lower energy cost supplier(s) | Implement industrial process improvements | Implement production and/or manufacturing improvements | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Install advanced metering systems | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | De-lamp vending machines | Install plug load controls | Clean and/or repair | Replace with ENERGY STAR rated | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Replace clothes dryers | Replace washing machines | Automatic shutdown or sleep mode for computers | Decrease SHW temperature | Install SHW controls | Install solar thermal SHW | Install water pressure booster | Insulate SHW piping | Insulate SHW tank | Replace piping | Replace tankless coil | Separate SHW from heating | Upgrade SHW boiler | Install heat pump SHW system | Install tankless water heaters | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Add elevator regenerative drives | Upgrade controls | Upgrade motors | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing | Improve data center efficiency | Implement hot aisle hold aisle design | Implement server virtualization | Upgrade servers | Clean and/or repair | Implement training and/or documentation | Upgrade operating protocols, calibration, and/or sequencing
Caution: Do not add data to this row |  |  |  | (yyyy-mm-dd) | (Y, N, NA) | (Thou. Sq Ft) | (Dollars) | (Million Btu) | (Dollars) | (Thou. Gallons) | (Dollars) | (Kwh) | (Million Btu) | (Dollars) | (Million Btu) | (Dollars) | (Thou. Gallons) | (Dollars) | (Dollars) | [25 empty] | Boiler Plant Improvements | [10 empty] | Chiller Plant Improvements | [8 empty] | Building Automation Systems/EMCS |  |  |  | Heating, Ventilating, and Air Conditioning | [31 empty] | Lighting Improvements | [15 empty] | Building Envelope Modifications | [17 empty] | Chilled Water, Hot Water, and Steam Distribution Systems | [15 empty] | Electric Motors and Drives | [5 empty] | Refrigeration | [5 empty] | Distributed Generation | [6 empty] | Renewable Energy Systems | [7 empty] | Energy/Utility Distribution Systems | [6 empty] | Water and Sewer Conservation Systems | [6 empty] | Electrical Peak Shaving/Load Shifting |  |  | Rate Adjustments |  |  | Energy Related Process Improvements |  |  |  |  | Advanced Metering Systems |  |  |  | Appliance/Plug-load Reductions | [8 empty] | Service Hot Water (SHW) Systems | [14 empty] | Conveyance Systems | [5 empty] | Data Center Energy Conservation Improvements